## Inventory
Color Legend | [13 empty] | HIDE THIS COLUMN
Preparing for calibration
Currently out for calibration
Late for calibration
Next due
Type | Manufacturer | Product | Description | S/N | Location | On license | Vendor doc | TG-40 req for cal | Date last cal | Cal due date | Preparing for cal | Out for cal | Notes | Neither prepping, out, nor late
Ion chamber | PTW | TN23343 | Markus plane-parallel ion chamber | 2905 | Elekta vault | FALSE | TRUE | 2 | 2020-08-26 | 2022-08-26 12:00 | FALSE | FALSE |  | 2022-08-26 12:00
Ion chamber | PTW | N23343 | Intracavity ion chamber | 3704 | Hot lab | FALSE | TRUE |  | 1999-04-08 |  |  |  | rarely used
Ion chamber | PTW | N30001 | Farmer cylindrical ion chamber | 619 | Elekta vault | FALSE | TRUE | 2 | 2020-08-25 | 2022-08-25 12:00 | FALSE | FALSE |  | 2022-08-25 12:00
Ion chamber | Standard Imaging | A1SL | Exradin Slimline Miniature Shonka Chamber | XW0531111 | Tomo vault | FALSE | TRUE | 2 | 2021-04-28 | 2023-04-28 12:00 | FALSE | FALSE | "light" | 2023-04-28 12:00
|  |  |  | XW052833 | Tomo vault | FALSE | TRUE | 2 | 2020-03-16 | 2022-03-16 12:00 | FALSE | FALSE | "dark"
Ion chamber | Standard Imaging | A17 | Exradin Slice Therapy ion chamber | XAE080647 | Tomo vault | FALSE | TRUE
Ion chamber | Fluke | 30-404 | Holt Parallel Plate Ion Chamber | MPPK 450 3/1 | Block room | FALSE | FALSE | 2 | Not req'd |  |  |  | out of service
Electrometer | Standard Imaging | MAX-4000 Plus |  | DEMO2 | E1 vault | FALSE | TRUE | 2 | 2019-05-16 | 2021-05-15 12:00 | FALSE | TRUE
Electrometer | Standard Imaging | Tomoelectrometer |  | L060401 | Block room | FALSE | TRUE | 2 | 2020-01-20 | 2022-01-19 12:00 | FALSE | FALSE
Electrometer | Fluke | 37-705 | VeriDose Electrometer for Diodes (Neg Bias) | 91697 | Elekta vault | FALSE | TRUE
Survey meter | Victoreen | 450P | Handheld ion chamber survey meter | 3829 | Tomo console | FALSE | TRUE | 1 | 2021-03-28 | 2022-03-28 06:00 |  | FALSE
Survey meter | Victoreen | 451P | Handheld ion chamber survey meter | 3949 | Physics cabinet | TRUE | TRUE | 1 | 2021-09-07 | 2022-09-07 06:00 |  | FALSE | CE 6839 - date good | 2022-09-07 06:00
Survey meter | Ludlum | 2241-3 | Handheld chamber survey meter electrometer | 248122 | Physics office | FALSE | TRUE | 1 | 2021-02-01 | 2022-02-01 06:00 |  | FALSE | electr. Cal. included in the probe cal
Survey meter | Ludlum | 44-9 | Pancake G-M Detector (alpha, beta, gamma,x) | PR266168 | Physics office | FALSE | TRUE | 1 | 2021-02-01 | 2022-02-01 06:00 |  | FALSE
Survey meter | Ludlum | 44-2 | Cylindrical NaI Scintillation Detector (gamma,x) | PR266834 | Physics office | FALSE | TRUE | 1 | 2021-02-01 | 2022-02-01 06:00 |  | FALSE
Survey meter | Ludlum | 133-7 | Cylindrical G-M Detector (gamma,x) | PR247807 | Physics office | FALSE | TRUE | 1 | 2021-02-01 | 2022-02-01 06:00 |  | FALSE
Scanning detector | Scanditronix | DEB050 | Stereotactic Field Detector diode | 1956 | Physics office | FALSE | TRUE
Scanning detector | Scanditronix | DEB022 | Reference Field Detector diode | 3823 | Physics office | FALSE | TRUE
Scanning detector | Scanditronix | DEB012 |  | 3912 | Physics office | FALSE | TRUE
Scanning detector | Scanditronix | DEB002 | Electron Field Detector diode (Blue) | 3988 | Physics office | FALSE | TRUE
Scanning detector | PTW | TN60019 | Diamond Detector |  | Hot lab | FALSE | TRUE | 2 | 2019-01-31 | Not req'd
In-vivo dosimeter | Fluke |  | VeriDose Diode 5-11 MV (Neg Bias) | 95788 | Elekta vault | FALSE | TRUE
In-vivo dosimeter | Fluke |  | Veridose Diode 18-25 MV (Neg Bias) | 1342006 | Elekta vault | FALSE | TRUE
In-vivo dosimeter | Fluke |  | Veridose Diode - 5 - 25 MeV Electron (Neg Bias) | 106634 | Elekta vault | FALSE | TRUE
In-vivo dosimeter | PTW |  | Rectal Intracavitary Ion Chamber | 3704 | Block room | FALSE | FALSE | 2 |  |  |  |  | out of service
Room monitor | Fluke | 05-434 Primalarm | Teletherapy rad monitor | 108070 | Tomo console | FALSE | FALSE
Room monitor | Fluke | 05-433 Primalert 10 | Remote alarm | 108079 | Tomo vault | FALSE | TRUE
Room monitor | Fluke | 05-434 Primalarm | Teletherapy rad monitor | 108069 | Elekta console | FALSE | FALSE
Room monitor | Fluke | 05-433 Primalert 10 | Remote alarm | 108070 | Elekta vault | FALSE | TRUE
Room monitor |  |  | Radiation Monitor | 340705 | E1 vault | FALSE | FALSE | [5 empty] | *s/n may be incorrect
Room monitor |  |  | Radiation Monitor |  | E2 vault | FALSE | FALSE
Room monitor |  |  | Radiation Monitor |  | Tomo vault | FALSE | FALSE
Thermometer |  |  | Type K Thermocouple Thermometer | 440883 | Tomo vault | FALSE | TRUE | Initial use
Thermometer |  |  | Mercury Thermometer |  | Tomo vault | FALSE | FALSE | Initial use
Barometer |  |  | Aneroid Barometer |  | Tomo console | FALSE | TRUE | 4
Barometer |  |  | Altimeter/Barometer |  | Tomo console | FALSE | TRUE | [5 empty] | out of service
Barometer |  |  | Mercury Barometer |  | Physics office | FALSE | TRUE | Initial use
Film equipment | Vidar | DosimetryPRO Advantage | Film scanner | 330025 | Physics office | FALSE | TRUE
Daily/monthly QA equipment | Sun Nuclear | Daily QA 3 | Linac Daily QA Checker | 5283306 | Elekta vault | FALSE | TRUE
Daily/monthly QA equipment | Sun Nuclear | Tomodose | Tomo daily QA | 5498918 | Tomo vault | FALSE | TRUE
Daily/monthly QA equipment | Sun Nuclear | IC PROFILER | Profiler Detector Array |  | Block room | FALSE | TRUE
Daily/monthly QA equipment |  |  | Profiler Power Supply |  | Block room | FALSE | TRUE
Daily/monthly QA equipment |  | PDI 3.0 port | IC Profiler uses PDI 3.0 port |  | Hot lab | FALSE | TRUE
Annual QA equipment |  |  | BP1 3D Water Tank |  | Hot lab | FALSE | FALSE
Annual QA equipment |  |  | Base w/ wheels for tank |  | Hot lab | FALSE | FALSE
Annual QA equipment |  |  | CCU for myQAAccept current version |  | Hot lab | FALSE | FALSE
Annual QA equipment |  |  | CCU for old OmniPro IBA software |  | Physics mid room | FALSE | FALSE
Annual QA equipment |  |  | 2D water tank fits A1SL chamber |  | Tomo closet | FALSE | FALSE
Annual QA equipment |  |  | Control unit for water tank |  | Tomo closet | FALSE | FALSE
Annual QA equipment | Standard Imaging | TomoScanner v2.0 | CD w/ software |  | Physics office | FALSE | FALSE
Linac | Elekta | Synergy | E1 | 151769 | E1 vault |  | TRUE
Linac | Elekta | Infinity | E2 | 154169 | E2 vault |  | TRUE
Software | Varian | MOSAIQ 4.0 | MOSAIQ EMR | #N/A |  |  | TRUE
Linac | Accuray | TomoTherapy Hi-Art | Tomo | 110227 | Tomo vault |  | TRUE
Software | MIM | MIM 6.9.3 | MIM
Formulas:
Cal due date = IF(AND(ISNUMBER(Inventory[TG-40 req for cal]),ISNUMBER(Inventory[Date last cal])),Inventory[Date last cal]+Inventory[TG-40 req for cal]*365.25,"")