## Monthly
The Cancer Center at CRMC | COLOR LEGEND:
YYYY Physicist/RSO/QA Periodic Checklist | Not started | In progress | Complete
E-1
Dosimetry & Beam Profile Checks (IC Profiler)
Mechanical Checks (TG-142)
kV Imaging Checks (TG-104)
MV Imaging Checks (TG-58)
Service Report Review
E-2
Dosimetry & Beam Profile Checks (IC Profiler)
Mechanical Checks (TG-142)
kV Imaging Checks (TG-104)
MV Imaging Checks (TG-58)
Service Report Review
Tomo
Dosimetry Checks (IC Profiler)
TG-148
Area Monitor Operation
STET
CT Sim
Lasers
TG-66
Rad Safety
Nurses' Dosimetry Changeout
Nurses' Dosimetry Data Initialed
Measurement Equipment
Instrument Cals Up to Date
Survey Meter 1
Operability
Constancy
Survey Meter 2
Operability
Constancy
Survey Meter 3
Operability
Constancy

## Daily
The Cancer Center at CRMC |  | COLOR LEGEND:
YYYY Physicist/RSO/QA Periodic Checklist |  | Not started | In progress | Complete
2022-02-01 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-02 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-03 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-04 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-05 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-06 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-07 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-08 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-09 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-10 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-11 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-12 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-13 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-14 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-15 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-16 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-17 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-18 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-19 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-20 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-21 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-22 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-23 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-24 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-25 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-26 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-27 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks
2022-02-28 | E-1
Review Daily Output Checks
E-2
Review Daily Output Checks
Tomo
Review Daily Output Checks